## Slide 1: Choosing the Right Technology
Matching Sites & Systems

## Slide 2: SYSTEM Problems
Users
  Type of Waste
  Delivery
The Site

## Slide 3: Users
High strength
Hard to treat
Peak flows

## Slide 4: The Site
The Neighborhood
The Density
The SITE
RISK

## Slide 5: Tough Neighborhoods
High Density
Shallow Aquifers/ Unconfined Aquifers
Groundwater Recharge Areas
Surface waters
Salt water
RISK

## Slide 6: EPA Water Quality Programs
Onsite Wastewater Treatment Systems
  Non-point source of pollution
Total Maximum Daily Loads {TMDL}
Coastal Zone Management Program
Notes: The EPA has implemented many programs such as the Total Maximum Daily Load or Coastal Zone Management Program, both of which impact The onsite wastewater treatment industry since on-site systems all are considered a nonpoint source of pollution. The TMDL program relates to stream segments and CZMP applies to coastal water resources.

## Slide 7: Ground water
Shallow aquifers
Unconfined aquifers
Increased Nitrogen loading
Potential cross connections

## Slide 9: Surface water
Freshwater
Increased Phosphorus loading
Increased organic loading
Saltwater
Nitrogen [TMDL]

## Slide 10: High Density
Lot Sizes
  Low risk
  Medium risk
  High risk
Increased Nitrogen loading
Potential cross connections
+2 sites
1 site
< 1 site

## Slide 11: Tough Soils
Fast
Slow
Shallow
Water table
Bedrock
Treatment
Acceptance
Sizing [Area]

## Slide 12: The Technologies
Conventional
Additional treatment
  ATU [MBR]
  RBC
  Media filters
  Wetlands
Gray water Technologies
Cluster technology
Legacy Systems

## Slide 13: Legacy Systems
Obsolete Systems
What is in the ground but Not RIGHT

## Slide 14: Conventional Systems
Anaerobic
Aerobic

## Slide 15: Making them work
Normal waste
Watertight tanks
Required Area & Separation
Management:
  Tank access &cleaning

## Slide 16: Soil Treatment Areas

## Slide 17: Where they FIT
Strengths
Low Power
Weaknesses
Tough waste
  Nutrients
Size & Soil

## Slide 18: Graywater Technology
Definition
“Shower to Flower”

## Slide 19: Graywater Technology

## Slide 20: Where they FIT
Strengths
Reuse
Sustainability
Weaknesses
Unclear definitions
Current Science
RISK

## Slide 21: Additional treatment
Organic loading
Pathogen removal
Nutrients
Concerns
System Benefits
Acceptance
  Smaller size
Separation reduction
Neighborhood concerns
Cost: Power & Care

## Slide 22: Aerobic Treatment Systems

## Slide 23: Making them work
Normal waste to HSW
Watertight tanks
Air delivery system
Required Area & Separation
Management:
  Tank access &cleaning
  Performance testing
Allows the use
of Disinfection

## Slide 24: ATU
Aerobic treatment Units
Aerobic treatment
BOD5: 25 mg/L
TSS: 25 mg/L

## Slide 25: Membrane Bio Reactor

## Slide 26: UV Disinfection

## Slide 27: Where they FIT
Strengths
Footprint
  Upgrading
Adjustability
HSW
Weaknesses
Power req
Ability to Break

## Slide 28: Media Filters
Aerobic

## Slide 29: Making them work
Normal waste
Watertight tanks
Effluent distribution
Media & Recirculation
Required Area & Separation
Management:
  Tank access &cleaning
  Media access & service
  Performance testing
RMF: Allows the use
of Disinfection
SPF: May meet
Disinfection

## Slide 30: Media filters
BOD5: 15 mg/L
TSS: 15 mg/L
Fecal coliform~

## Slide 31: Constructed Wetlands

## Slide 32: Making them work
Normal waste
Watertight tanks
Effluent distribution
Media & Recirculation
Required Area & Separation
Management:
  Tank access &cleaning
  Media access & service
  Performance testing
Sewage Gardening

## Slide 33: Where they FIT
Strengths
Passive Technology
Flex loading
SPMF Bacteria
RMF Nitrogen
Weaknesses
Footprint
Parts
Media selection

## Slide 34: Cluster Technologies
System sizing
System siting
Management

## Slide 35: Cluster Choices
Shared well
Individual Clusters
Collection Systems
  Conventional Sewer
    Solids Handling
  Septic tank to Collection

## Slide 36: Cluster Keys
Flow determination
Flexibility
Soil identification
Care
  Serviceability
Communication

## Slide 37: The Costs
Usable lot
Desirable location
Environmental Protection
Buildable
System
System Access
System distribution
System Care
System Reporting

## Slide 38: Questions
David Gustafson, PE
gusta002@umn.edu