## Slide 1: When Systems get Hot
System evaluation and repair after a Wild fire

## Slide 2: Wild Fires & System Performance

## Slide 3: Nature’s Plan for renewal

## Slide 4: Heat Impacts
PVC handles up to 140˚
Deformation
Expansion
Movement

## Slide 5: Fires and Systems
Heat is significant
Use of Plastics in the System
  Risers
  Tanks
  Supply piping
  Distribution
    Boxes
    Piping
  Inspection pipes

## Slide 6: Distribution Media
Plastic Distribution Media
  Chambers
  EZ Flo
  Elgin Indrain

## Slide 7: Treatment technologies

## Slide 8: Heat Impacts
Plastic Impacts
  Melted
  Warped
Concrete and heat
Depth reduces impacts

## Slide 9: Existing Home
All Piping
  Camera
  Replaced if damaged
Plastic risers
Plastic tanks
Electrical

## Slide 10: System Location

## Slide 13: Fire Planning

## Slide 14: Site Development
Immediate zone
Intermediate zone
Extended zone

## Slide 15: Soil Impacts Due to Fire
Reduced organic matter
  Reduction is temperature related
  Decreased water holding capacity
Increased infiltration rate
Change in surface Soil color record

## Slide 17: New Home
Current PERMITED Home & System
New Home
  Number of Bedrooms
  Tank size
  System application
  Additional treatment requirements

## Slide 18: Questions

## Slide 19: Eljen GSF
More information: https://www.eljen.com/eljen-gsf/

## Slide 20: Treatment Systems - Eljen In-drain

## Slide 22
Pump tank Pump tank
Elgin Pads
Sand per Manufacture
24” Clean sand
Coarse Material
>50% rock
Pressure distribution
Pump tank Pump tank